## Hoja1
Numero | Numero(HEX) | Descripcion
0 | 00 | Selected Baudrate
1 | 01 | Active sensors after last reading
2 | 02 | Cable 0 Status
3 | 03 | Cable 1 Status
4 | 04 | Cable 2 Status
5 | 05 | Cable 3 Status
6 | 06 | Cable 4 Status
7 | 07 | Cable 5 Status
8 | 08 | Cable 6 Status
9 | 09 | Cable 7 Status
10 | 0A | Cable 0 - Sensor 0 temperature last reading
11 | 0B | Cable 0 - Sensor 1 temperature last reading
12 | 0C | Cable 0 - Sensor 2 temperature last reading
13 | 0D | Cable 0 - Sensor 3 temperature last reading
14 | 0E | Cable 0 - Sensor 4 temperature last reading
15 | 0F | Cable 0 - Sensor 5 temperature last reading
16 | 10 | Cable 0 - Sensor 6 temperature last reading
17 | 11 | Cable 0 - Sensor 7 temperature last reading
18 | 12 | Cable 1 - Sensor 0 temperature last reading
19 | 13 | Cable 1 - Sensor 1 temperature last reading
20 | 14 | Cable 1 - Sensor 2 temperature last reading
21 | 15 | Cable 1 - Sensor 3 temperature last reading
22 | 16 | Cable 1 - Sensor 4 temperature last reading
23 | 17 | Cable 1 - Sensor 5 temperature last reading
24 | 18 | Cable 1 - Sensor 6 temperature last reading
25 | 19 | Cable 1 - Sensor 7 temperature last reading
26 | 1A | Cable 2 - Sensor 0 temperature last reading
27 | 1B | Cable 2 - Sensor 1 temperature last reading
28 | 1C | Cable 2 - Sensor 2 temperature last reading
29 | 1D | Cable 2 - Sensor 3 temperature last reading
30 | 1E | Cable 2 - Sensor 4 temperature last reading
31 | 1F | Cable 2 - Sensor 5 temperature last reading
32 | 20 | Cable 2 - Sensor 6 temperature last reading
33 | 21 | Cable 2 - Sensor 7 temperature last reading
34 | 22 | Cable 3 - Sensor 0 temperature last reading
35 | 23 | Cable 3 - Sensor 1 temperature last reading
36 | 24 | Cable 3 - Sensor 2 temperature last reading
37 | 25 | Cable 3 - Sensor 3 temperature last reading
38 | 26 | Cable 3 - Sensor 4 temperature last reading
39 | 27 | Cable 3 - Sensor 5 temperature last reading
40 | 28 | Cable 3 - Sensor 6 temperature last reading
41 | 29 | Cable 3 - Sensor 7 temperature last reading
42 | 2A | Cable 4 - Sensor 0 temperature last reading
43 | 2B | Cable 4 - Sensor 1 temperature last reading
44 | 2C | Cable 4 - Sensor 2 temperature last reading
45 | 2D | Cable 4 - Sensor 3 temperature last reading
46 | 2E | Cable 4 - Sensor 4 temperature last reading
47 | 2F | Cable 4 - Sensor 5 temperature last reading
48 | 30 | Cable 4 - Sensor 6 temperature last reading
49 | 31 | Cable 4 - Sensor 7 temperature last reading
50 | 32 | Cable 5 - Sensor 0 temperature last reading
51 | 33 | Cable 5 - Sensor 1 temperature last reading
52 | 34 | Cable 5 - Sensor 2 temperature last reading
53 | 35 | Cable 5 - Sensor 3 temperature last reading
54 | 36 | Cable 5 - Sensor 4 temperature last reading
55 | 37 | Cable 5 - Sensor 5 temperature last reading
56 | 38 | Cable 5 - Sensor 6 temperature last reading
57 | 39 | Cable 5 - Sensor 7 temperature last reading
58 | 3A | Cable 6 - Sensor 0 temperature last reading
59 | 3B | Cable 6 - Sensor 1 temperature last reading
60 | 3C | Cable 6 - Sensor 2 temperature last reading
61 | 3D | Cable 6 - Sensor 3 temperature last reading
62 | 3E | Cable 6 - Sensor 4 temperature last reading
63 | 3F | Cable 6 - Sensor 5 temperature last reading
64 | 40 | Cable 6 - Sensor 6 temperature last reading
65 | 41 | Cable 6 - Sensor 7 temperature last reading
66 | 42 | Cable 7 - Sensor 0 temperature last reading
67 | 43 | Cable 7 - Sensor 1 temperature last reading
68 | 44 | Cable 7 - Sensor 2 temperature last reading
69 | 45 | Cable 7 - Sensor 3 temperature last reading
70 | 46 | Cable 7 - Sensor 4 temperature last reading
71 | 47 | Cable 7 - Sensor 5 temperature last reading
72 | 48 | Cable 7 - Sensor 6 temperature last reading
73 | 49 | Cable 7 - Sensor 7 temperature last reading